Comments on ECC Deliverable under public consultation

“Draft CEPT Report 44 “In response to the EC Permanent Mandate on the ”Annual update of the technical annex of the Commission Decision on the technical harmonisation of radio spectrum for use by short range devices”

Source:

Company: Medtronic

Name and Appointment of contributor: Saad Mezzour

1 	General Comments

Medtronic has reviewed the draft CEPT report 44 currently under public consultation and would like to provide the following general comment.

Medtronic continues to request CEPT to propose to the European Commission by stating within the CEPT report 44 that the removal of the frequency bands 401-402 MHz, 402-405 MHz and 405-406 MHz used by ULP-AMI communication systems from the EC Decision on SRDs is needed to align the CEPT and EU policies regarding the use of the band.

Removal of these bands from the EC Decision on SRDs will complete the work achieved between ETSI and CEPT that resulted in amendment of ECC Decision ERC/DEC (01)17 to provide protected status to ULP-AMI as a secondary mobile service. This was followed by removal of the frequency bands 401-402 MHz, 402-405 MHz and 405-406 MHz from CEPT recommendation ERC/REC 70-03 and all SRD references in the applicable ETSI standards are in process of being deleted. This policy is also in line with ITU-R Recommendation ITU-R RS. 1346 which considered Medical Implant Communication Systems to require a band that is available worldwide, and may operate in the mobile service currently allocated on a secondary basis in the band 401-406 MHz.

Removal of the 401-402 MHz, 402-405 MHz and 405-406 MHz bands from the EC Decision on SRDs to align the use of the bands with ECC Decision ERC/DEC (01)17 and the ITU-R recommendation is required in order to prevent confusion the status of the ULP-AMI systems within Europe.  Inclusion of the ULP-AMI bands in the EC Decision as bands available for non-protected SRDs, in contradiction to the ECC position would do great harm to the industry and the public perception of medical communications for highly reliable communications.

Removal of this band from the EC Decision will provide a significant benefit to the ULP-AMI users in hospital for Physicians and/or nurses for implant programing and patient follow-up and at home by patient for patient remote monitoring. The benefit to the ULP-AMI users in Europe is legal certainty of protection by precluding proliferation and aggregation of applications from SRDs over time. This is critical to the long term usage of the band for medical devices many of which will continue to rely on use of the band for ten or more years.

Removal of this band from the EC Decision on SRDs will also require EU Member States, who have to follow the minimum restrictions in the EC SRD decision, from allowing new applications in the band, based on the principal of minimum restrictions, other than the meteorological radio services and ULP-AMI, without conducting the compatibility studies required for all secondary services to protect existing users and to prevent aggregation and proliferation of SRD applications in this band. Such deletion from the EC Decision on SRDs will not impose any new regulatory change in EU Member States unless the European Commission decides to develop a specific EC Decision on ULP-AMI in the 401-406MHz band aligned with the technical requirements operating with protected status in the amended ERC/DEC (01)17. This could be proposed in the draft CEPT report 44 and the decision could be left to the European Commission to decide on the necessity for such a specific EC Decision or if the ERC/DEC (01)17 is sufficient.